## Fitted_Data
Frequency | Z_real | Z_Imag | Z_fit_real (Ω) | Z_fit_imag (Ω) | ¦Z¦ (Ω) | ¦Z_fit¦ (Ω) | -Phase (deg) | -Phase_fit (deg) | Residual_real | Residual_imag | ¦Residual¦
100000 | 986.8527 | -82.4605 | 980.8724 | -51.8922 | 990.2919 | 982.2441 | 4.7765 | 3.0284 | 5.9803 | -30.5683 | 31.1478
82864.2773 | 988.1224 | -87.0686 | 982.3557 | -62.3103 | 991.951 | 984.3299 | 5.0356 | 3.6294 | 5.7667 | -24.7583 | 25.421
39069.3994 | 1009.1362 | -142.9702 | 997.0702 | -128.2945 | 1019.2136 | 1005.2903 | 8.0638 | 7.332 | 12.0659 | -14.6758 | 18.9991
32374.5754 | 1012.9817 | -163.7697 | 1005.0469 | -152.9613 | 1026.1347 | 1016.6201 | 9.1836 | 8.6536 | 7.9348 | -10.8084 | 13.4083
26826.958 | 1020.9782 | -188.6418 | 1016.1874 | -181.735 | 1038.2592 | 1032.3103 | 10.4682 | 10.1396 | 4.7908 | -6.9069 | 8.4057
22229.9648 | 1033.8256 | -219.0846 | 1031.654 | -214.8735 | 1056.7845 | 1053.7934 | 11.9649 | 11.7654 | 2.1716 | -4.2112 | 4.7381
18420.6997 | 1052.82 | -254.4827 | 1052.9225 | -252.3527 | 1083.1396 | 1082.7409 | 13.5886 | 13.4778 | -0.10254 | -2.1299 | 2.1324
15264.1797 | 1079.1826 | -294.7275 | 1081.7592 | -293.6615 | 1118.7043 | 1120.9104 | 15.2751 | 15.1879 | -2.5766 | -1.066 | 2.7884
12648.5522 | 1115.0462 | -337.9727 | 1120.0843 | -337.5476 | 1165.141 | 1169.8407 | 16.8622 | 16.7707 | -5.0381 | -0.42508 | 5.056
10481.1313 | 1163.1461 | -382.2567 | 1169.6565 | -381.7743 | 1224.3484 | 1230.3852 | 18.1926 | 18.0766 | -6.5104 | -0.4824 | 6.5282
8685.1137 | 1222.9705 | -424.8423 | 1231.5405 | -423.0214 | 1294.6613 | 1302.1671 | 19.1565 | 18.9571 | -8.57 | -1.8209 | 8.7613
7196.8567 | 1296.6857 | -460.8325 | 1305.4303 | -457.1224 | 1376.1397 | 1383.1519 | 19.5648 | 19.2987 | -8.7446 | -3.7101 | 9.4991
5963.6233 | 1380.6584 | -485.5923 | 1389.0822 | -479.7847 | 1463.5633 | 1469.6063 | 19.3773 | 19.0548 | -8.4238 | -5.8076 | 10.2317
4941.7134 | 1472.5892 | -495.156 | 1478.2507 | -487.7048 | 1553.6082 | 1556.6249 | 18.5851 | 18.2588 | -5.6615 | -7.4513 | 9.3581
4094.9151 | 1563.5195 | -487.7662 | 1567.3926 | -479.6399 | 1637.8367 | 1639.1382 | 17.3262 | 17.0147 | -3.873 | -8.1263 | 9.002
3393.2218 | 1649.0252 | -464.6802 | 1650.9714 | -456.8551 | 1713.2459 | 1713.0158 | 15.7374 | 15.4678 | -1.9462 | -7.8251 | 8.0635
2811.7687 | 1725.2934 | -430.2189 | 1724.7579 | -422.6684 | 1778.1242 | 1775.7923 | 14.0017 | 13.7695 | 0.53554 | -7.5505 | 7.5694
2329.9518 | 1788.4288 | -386.7964 | 1786.5277 | -381.3759 | 1829.7784 | 1826.781 | 12.2038 | 12.0502 | 1.9011 | -5.4205 | 5.7442
1930.6977 | 1838.825 | -340.4928 | 1835.9902 | -337.1388 | 1870.0836 | 1866.6876 | 10.4906 | 10.4052 | 2.8348 | -3.354 | 4.3915
1599.8587 | 1876.2161 | -295.4468 | 1874.2196 | -293.2679 | 1899.3356 | 1897.0253 | 8.9489 | 8.8932 | 1.9965 | -2.1789 | 2.9553
1325.7114 | 1905.8416 | -252.9412 | 1902.978 | -251.9899 | 1922.5533 | 1919.5896 | 7.5601 | 7.5431 | 2.8635 | -0.95135 | 3.0174
1098.5411 | 1925.6228 | -214.9344 | 1924.1857 | -214.5491 | 1937.581 | 1936.1099 | 6.3689 | 6.3623 | 1.4372 | -0.38534 | 1.4879
910.2982 | 1940.2102 | -180.5369 | 1939.6063 | -181.4511 | 1948.5915 | 1948.0752 | 5.3161 | 5.3445 | 0.6039 | 0.91424 | 1.0957
754.312 | 1950.7416 | -151.8087 | 1950.7129 | -152.7167 | 1956.6396 | 1956.6817 | 4.4498 | 4.4764 | 0.028613 | 0.90794 | 0.90839
625.0552 | 1958.922 | -125.517 | 1958.665 | -128.0858 | 1962.9391 | 1962.8486 | 3.6662 | 3.7415 | 0.25705 | 2.5689 | 2.5817
517.9475 | 1964.5131 | -104.303 | 1964.3401 | -107.1605 | 1967.2801 | 1967.2608 | 3.0392 | 3.1226 | 0.17306 | 2.8575 | 2.8628
429.1934 | 1967.5353 | -88.1388 | 1968.3857 | -89.4947 | 1969.5085 | 1970.4191 | 2.5649 | 2.6032 | -0.85038 | 1.356 | 1.6006
355.648 | 1970.3289 | -72.3871 | 1971.2715 | -74.6467 | 1971.6582 | 1972.6843 | 2.104 | 2.1686 | -0.94257 | 2.2596 | 2.4483
294.7052 | 1971.2308 | -59.9945 | 1973.334 | -62.2059 | 1972.1435 | 1974.3142 | 1.7433 | 1.8056 | -2.1032 | 2.2113 | 3.0518
244.2053 | 1973.1562 | -50.167 | 1974.8128 | -51.805 | 1973.7939 | 1975.4922 | 1.4564 | 1.5027 | -1.6566 | 1.638 | 2.3297
202.359 | 1974.6156 | -41.8 | 1975.8775 | -43.1231 | 1975.058 | 1976.3481 | 1.2127 | 1.2503 | -1.2619 | 1.3231 | 1.8284
167.6833 | 1974.4164 | -33.9212 | 1976.6481 | -35.8841 | 1974.7078 | 1976.9738 | 0.98427 | 1.04 | -2.2317 | 1.9629 | 2.9721
138.9495 | 1975.9041 | -28.423 | 1977.209 | -29.8531 | 1976.1085 | 1977.4344 | 0.82413 | 0.86502 | -1.3049 | 1.4301 | 1.936
115.1395 | 1974.9156 | -23.5253 | 1977.62 | -24.8313 | 1975.0557 | 1977.7759 | 0.68248 | 0.71938 | -2.7044 | 1.306 | 3.0032
95.4095 | 1975.4741 | -19.5342 | 1977.9235 | -20.6515 | 1975.5706 | 1978.0313 | 0.56654 | 0.5982 | -2.4494 | 1.1173 | 2.6922
79.0604 | 1975.5136 | -16.6111 | 1978.1492 | -17.1737 | 1975.5834 | 1978.2237 | 0.48176 | 0.49741 | -2.6356 | 0.56254 | 2.6949
65.5129 | 1975.8728 | -13.3494 | 1978.3184 | -14.2805 | 1975.9179 | 1978.37 | 0.38709 | 0.41358 | -2.4456 | 0.93113 | 2.6169
54.2868 | 1975.2077 | -9.9913 | 1978.4465 | -11.8741 | 1975.2329 | 1978.4821 | 0.28982 | 0.34387 | -3.2388 | 1.8828 | 3.7463
44.9843 | 1975.5073 | -9.5679 | 1978.5441 | -9.8727 | 1975.5305 | 1978.5687 | 0.2775 | 0.2859 | -3.0368 | 0.30479 | 3.052
37.2759 | 1974.8114 | -7.483 | 1978.6192 | -8.2085 | 1974.8256 | 1978.6362 | 0.21711 | 0.23769 | -3.8078 | 0.72546 | 3.8763
30.8884 | 1975.7928 | -6.497 | 1978.6774 | -6.8246 | 1975.8035 | 1978.6892 | 0.18841 | 0.19762 | -2.8846 | 0.32755 | 2.9031
25.5955 | 1976.0297 | -5.6818 | 1978.7229 | -5.6739 | 1976.0378 | 1978.731 | 0.16475 | 0.16429 | -2.6932 | -0.0078876 | 2.6932
21.2095 | 1975.1755 | -4.4938 | 1978.7587 | -4.7172 | 1975.1806 | 1978.7643 | 0.13036 | 0.13659 | -3.5832 | 0.22336 | 3.5902
17.5751 | 1976.0708 | -2.6099 | 1978.787 | -3.9217 | 1976.0725 | 1978.7909 | 0.075673 | 0.11355 | -2.7163 | 1.3118 | 3.0164
14.5635 | 1974.3891 | -3.1772 | 1978.8097 | -3.2603 | 1974.3916 | 1978.8124 | 0.092202 | 0.094402 | -4.4206 | 0.083108 | 4.4214
12.0679 | 1975.5639 | -3.515 | 1978.8278 | -2.7105 | 1975.567 | 1978.8297 | 0.10194 | 0.078481 | -3.2639 | -0.80445 | 3.3616
10 | 1975.5636 | -3.5526 | 1978.8425 | -2.2534 | 1975.5668 | 1978.8437 | 0.10303 | 0.065245 | -3.2789 | -1.2993 | 3.5269

## Model_Info
Parameter | Value
Model | 8. Rs + (Rct¦¦CPE) (RANDLES CPE)
Circuit_String | R0-p(R1,CPE1)
Formula | Rs + (Rct ¦¦ CPE)
Description | Rs + (Rct¦¦CPE) - CPE without Warburg
N_Parameters | 4
Analysis_Mode | electrochemical
Physical_Status | PLAUSIBLE WITH WARNINGS
Physical_Confidence | MEDIUM
Fitting_Method | UNIFIED ENGINE - LOG-TRANSFORM + IDENTIFIABILITY
Identifiability_Penalty | 0

## Fitting_Parameters
Parameter | Value | Unit | Std_Error | CI_Lower_95% | CI_Upper_95% | Relative_Error_% | Max_Correlation | Max_Correlation_With
Rs | 976.7653 | Ω | 2.4001 | 972.0611 | 981.4694 | 0.25 | -0.792 | Rct
Rct | 1002.1432 | Ω | 3.4203 | 995.4394 | 1008.847 | 0.34 | -0.792 | Rs
CPE_Q | 3.8367e-08 | F·s^(n-1) | 1.4763e-09 | 3.5473e-08 | 4.126e-08 | 3.85 | -0.987 | CPE_n
CPE_n | 0.98279 | (dimensionless) | 0.0038537 | 0.97524 | 0.99034 | 0.39 | -0.987 | CPE_Q

## C_Effective_Values
CPE_Element | C_effective (pF) | Formula
CPE1 | 31715.2416 | C_eff = Q^(1/n) × Rp^((1-n)/n), Rp = Rs·Rct/(Rs+Rct)

## Advanced_Metrics
Metric | Value
Chi_Squared_Weighted | 0.0026682
Chi_Squared_Reduced | 2.998e-05
DOF | 89
RSS | 3171.5344
AIC | -976.1461
AICc | -975.6966
BIC | -965.9729
RMSE | 8.2146
MAE | 5.6918
MAPE_% | 0.42743
sMAPE_% | 0.42818
Durbin_Watson | 0.1313
Durbin_Watson_Re | 0.16826
Durbin_Watson_Im | 0.094337
N_Points | 47
N_Params | 4
AIC_penalized | -976.1461
AICc_penalized | -975.6966
BIC_penalized | -965.9729
Identifiability_Penalty | 0

## Physical_Validation
Validation_Item | Result
is_physically_valid | True
status | PLAUSIBLE WITH WARNINGS
status_color | warning
confidence | MEDIUM
issues
warnings | CPE_n = 0.983 (close to 1 - ideal capacitor)
recommendations
critical_issues | []
physical_issues | []
extreme_count | 0

## Statistics_Summary
Statistic | Δ_re | Δ_im
n points | 47 | 47
mean (μ) | 0 | -0.002
std (σ) | 0.003 | 0.006
Skewness (γ1) | 1.317 | -3.293
Excess Kurtosis (γ2) | 3.588 | 11.682
Shapiro-Wilk W | 0.8714 | 0.5635
Shapiro-Wilk p-value | 0.0001 | 0
Q-Q R² | 0.8584 | 0.5481

## Histogram_Data
Component | Bin_Left | Bin_Right | Bin_Center | Density | Normal_PDF_at_Center
Δ_re | -0.0066195 | -0.0054659 | -0.0060427 | 55.3298 | 29.6522
Δ_re | -0.0054659 | -0.0043123 | -0.0048891 | 36.8866 | 49.3871
Δ_re | -0.0043123 | -0.0031586 | -0.0037354 | 18.4433 | 73.1831
Δ_re | -0.0031586 | -0.002005 | -0.0025818 | 55.3298 | 96.4826
Δ_re | -0.002005 | -0.00085138 | -0.0014282 | 295.0925 | 113.1691
Δ_re | -0.00085138 | 0.00030224 | -0.00027457 | 184.4328 | 118.0994
Δ_re | 0.00030224 | 0.0014559 | 0.00087905 | 73.7731 | 109.6499
Δ_re | 0.0014559 | 0.0026095 | 0.0020327 | 55.3298 | 90.5753
Δ_re | 0.0026095 | 0.0037631 | 0.0031863 | 0 | 66.5659
Δ_re | 0.0037631 | 0.0049167 | 0.0043399 | 18.4433 | 43.5246
Δ_re | 0.0049167 | 0.0060704 | 0.0054935 | 36.8866 | 25.3197
Δ_re | 0.0060704 | 0.007224 | 0.0066472 | 0 | 13.1046
Δ_re | 0.007224 | 0.0083776 | 0.0078008 | 18.4433 | 6.0343
Δ_re | 0.0083776 | 0.0095312 | 0.0089544 | 0 | 2.4722
Δ_re | 0.0095312 | 0.010685 | 0.010108 | 0 | 0.90108
Δ_re | 0.010685 | 0.011838 | 0.011262 | 18.4433 | 0.29221
Δ_im | -0.030868 | -0.028848 | -0.029858 | 10.5328 | 0.0046761
Δ_im | -0.028848 | -0.026828 | -0.027838 | 0 | 0.018055
Δ_im | -0.026828 | -0.024808 | -0.025818 | 10.5328 | 0.062868
Δ_im | -0.024808 | -0.022788 | -0.023798 | 0 | 0.19741
Δ_im | -0.022788 | -0.020768 | -0.021778 | 0 | 0.55898
Δ_im | -0.020768 | -0.018748 | -0.019758 | 0 | 1.4274
Δ_im | -0.018748 | -0.016728 | -0.017738 | 0 | 3.2869
Δ_im | -0.016728 | -0.014708 | -0.015718 | 0 | 6.8257
Δ_im | -0.014708 | -0.012688 | -0.013698 | 10.5328 | 12.7822
Δ_im | -0.012688 | -0.010668 | -0.011678 | 0 | 21.586
Δ_im | -0.010668 | -0.0086476 | -0.0096577 | 10.5328 | 32.8733
Δ_im | -0.0086476 | -0.0066276 | -0.0076376 | 10.5328 | 45.1461
Δ_im | -0.0066276 | -0.0046076 | -0.0056176 | 21.0656 | 55.9117
Δ_im | -0.0046076 | -0.0025875 | -0.0035976 | 63.1968 | 62.444
Δ_im | -0.0025875 | -0.0005675 | -0.0015775 | 63.1968 | 62.8904
Δ_im | -0.0005675 | 0.0014525 | 0.00044251 | 294.9183 | 57.1193

## QQ_Plot_Data
Component | Theoretical_Quantile | Sample_Quantile | Normal_Reference_Line
Δ_re | -2.1797 | -0.0066195 | -0.0074345
Δ_re | -1.8052 | -0.0063545 | -0.0062311
Δ_re | -1.5837 | -0.0057557 | -0.0055193
Δ_re | -1.4204 | -0.0053174 | -0.0049946
Δ_re | -1.2881 | -0.004324 | -0.0045695
Δ_re | -1.1751 | -0.0036441 | -0.0042065
Δ_re | -1.0755 | -0.0023647 | -0.0038862
Δ_re | -0.98547 | -0.0023032 | -0.0035971
Δ_re | -0.90282 | -0.002239 | -0.0033315
Δ_re | -0.82593 | -0.0019282 | -0.0030844
Δ_re | -0.75363 | -0.0018141 | -0.0028521
Δ_re | -0.68507 | -0.0016597 | -0.0026318
Δ_re | -0.6196 | -0.0016521 | -0.0024214
Δ_re | -0.55668 | -0.0016397 | -0.0022193
Δ_re | -0.49589 | -0.0015372 | -0.0020239
Δ_re | -0.43688 | -0.0014599 | -0.0018343
Δ_re | -0.37936 | -0.0013746 | -0.0016495
Δ_re | -0.32306 | -0.0013693 | -0.0014686
Δ_re | -0.26777 | -0.0013629 | -0.0012909
Δ_re | -0.21329 | -0.0013341 | -0.0011159
Δ_re | -0.15944 | -0.0012398 | -0.0009428
Δ_re | -0.10604 | -0.0012377 | -0.00077122
Δ_re | -0.052946 | -0.001136 | -0.00060061
Δ_re | 0 | -0.0011301 | -0.00043048
Δ_re | 0.052946 | -0.0010665 | -0.00026034
Δ_re | 0.10604 | -0.00083928 | -8.9734e-05
Δ_re | 0.15944 | -0.00066036 | 8.1844e-05
Δ_re | 0.21329 | -0.00063893 | 0.0002549
Δ_re | 0.26777 | -0.00047806 | 0.00042996
Δ_re | 0.32306 | -0.00043177 | 0.00060762
Δ_re | 0.37936 | -9.467e-05 | 0.00078851
Δ_re | 0.43688 | 1.4624e-05 | 0.00097335
Δ_re | 0.49589 | 8.7969e-05 | 0.001163
Δ_re | 0.55668 | 0.00013095 | 0.0013583
Δ_re | 0.6196 | 0.00030118 | 0.0015605
Δ_re | 0.68507 | 0.00030991 | 0.0017709
Δ_re | 0.75363 | 0.00074173 | 0.0019912
Δ_re | 0.82593 | 0.001039 | 0.0022235
Δ_re | 0.90282 | 0.0010512 | 0.0024706
Δ_re | 0.98547 | 0.0014894 | 0.0027361
Δ_re | 1.0755 | 0.0015159 | 0.0030253
Δ_re | 1.1751 | 0.0020549 | 0.0033456
Δ_re | 1.2881 | 0.0046142 | 0.0037085
Δ_re | 1.4204 | 0.0058135 | 0.0041337
Δ_re | 1.5837 | 0.006039 | 0.0046583
Δ_re | 1.8052 | 0.0077328 | 0.0053702
Δ_re | 2.1797 | 0.011838 | 0.0065736
Δ_im | -2.1797 | -0.030868 | -0.012869
Δ_im | -1.8052 | -0.024959 | -0.011078
Δ_im | -1.5837 | -0.014399 | -0.010019
Δ_im | -1.4204 | -0.010533 | -0.0092386
Δ_im | -1.2881 | -0.0066524 | -0.0086061
Δ_im | -1.1751 | -0.0049616 | -0.0080661
Δ_im | -1.0755 | -0.0047961 | -0.0075896
Δ_im | -0.98547 | -0.0045674 | -0.0071594
Δ_im | -0.90282 | -0.0042463 | -0.0067643
Δ_im | -0.82593 | -0.0039849 | -0.0063967
Δ_im | -0.75363 | -0.0039681 | -0.0060511
Δ_im | -0.68507 | -0.0029624 | -0.0057234
Δ_im | -0.6196 | -0.002696 | -0.0054104
Δ_im | -0.55668 | -0.0019665 | -0.0051096
Δ_im | -0.49589 | -0.0017935 | -0.004819
Δ_im | -0.43688 | -0.0014064 | -0.0045369
Δ_im | -0.37936 | -0.0011472 | -0.0042619
Δ_im | -0.32306 | -0.00095289 | -0.0039928
Δ_im | -0.26777 | -0.00065766 | -0.0037285
Δ_im | -0.21329 | -0.00049484 | -0.003468
Δ_im | -0.15944 | -0.0004072 | -0.0032105
Δ_im | -0.10604 | -0.00039401 | -0.0029553
Δ_im | -0.052946 | -0.00036483 | -0.0027015
Δ_im | 0 | -0.00019888 | -0.0024483
Δ_im | 0.052946 | -3.9916e-06 | -0.0021952
Δ_im | 0.10604 | 4.2093e-05 | -0.0019414
Δ_im | 0.15944 | 0.00011308 | -0.0016861
Δ_im | 0.21329 | 0.00015428 | -0.0014287
Δ_im | 0.26777 | 0.00016578 | -0.0011682
Δ_im | 0.32306 | 0.00028475 | -0.00090393
Δ_im | 0.37936 | 0.00036735 | -0.00063481
Δ_im | 0.43688 | 0.00046403 | -0.00035981
Δ_im | 0.49589 | 0.00046918 | -7.7718e-05
Δ_im | 0.55668 | 0.00047124 | 0.00021289
Δ_im | 0.6196 | 0.00056555 | 0.00051368
Δ_im | 0.68507 | 0.00066123 | 0.0008267
Δ_im | 0.75363 | 0.00066384 | 0.0011544
Δ_im | 0.82593 | 0.00066991 | 0.0015
Δ_im | 0.90282 | 0.00068849 | 0.0018676
Δ_im | 0.98547 | 0.0007237 | 0.0022627
Δ_im | 1.0755 | 0.00082988 | 0.0026929
Δ_im | 1.1751 | 0.0009532 | 0.0031694
Δ_im | 1.2881 | 0.00099404 | 0.0037094
Δ_im | 1.4204 | 0.0011213 | 0.0043419
Δ_im | 1.5837 | 0.001146 | 0.0051225
Δ_im | 1.8052 | 0.0013087 | 0.0061815
Δ_im | 2.1797 | 0.0014525 | 0.0079719

## Auto_Fit_Ranking
Rank | Model | Circuit_String | Chi2_red | Δχ²_% | AIC | AIC_penalized | ΔAIC | AICc | AICc_penalized | BIC | ΔBIC | RMSE | MAE | MAPE_% | sMAPE_% | Durbin_Watson | N_Parameters | Physical_Valid | Physical_Status | Identifiability_Penalty | C_effective
1 | 8. Rs + (Rct¦¦CPE) (RANDLES CPE) | R0-p(R1,CPE1) | 2.998e-05 | 0 | -976.1461 | -976.1461 | 0 | -975.6966 | -975.6966 | -965.9729 | 0 | 8.2146 | 5.6918 | 0.42743 | 0.42818 | 0.1313 | 4 | TRUE | PLAUSIBLE WITH WARNINGS | 0 | CPE1=3.172e-08F
2 | 7. Rs + (Rct¦¦Cdl) (CLASSIC RANDLES) | R0-p(R1,C1) | 3.5961e-05 | 19.9489 | -959.9976 | -959.9976 | 16.1485 | -959.731 | -959.731 | -952.3677 | 13.6052 | 8.9431 | 5.5696 | 0.43537 | 0.43595 | 0.12682 | 3 | TRUE | PHYSICALLY PLAUSIBLE | 0 | N/A
3 | 2. Rs + Rct¦¦(CPE+W) (FULL RANDLES) | R0-p(R1,CPE1-W1) | 2.3991e-05 | -19.9777 | -996.1575 | -983.9022 | -7.7561 | -995.4757 | -983.2203 | -983.4411 | -5.2128 | 7.3836 | 5.1762 | 0.38806 | 0.38878 | 0.129 | 5 | TRUE | PLAUSIBLE WITH WARNINGS | 12.2554 | CPE1=3.288e-08F
4 | 9. Rs + (R1¦¦C1) + (R2¦¦C2) + (R3¦¦C3) (THREE TIMES) | R0-p(R1,C1)-p(R2,C2)-p(R3,C3) | 2.1567e-06 | -92.8063 | -1220.7746 | -1160.7749 | -184.6289 | -1219.4723 | -1159.4726 | -1202.9715 | -176.999 | 2.3022 | 1.756 | 0.12941 | 0.12949 | 0.58899 | 7 | TRUE | PHYSICALLY PLAUSIBLE | 59.9997 | N/A
5 | 13. Rs + (Rct¦¦Cdl) + (R¦¦C) (RANDLES + RC PARALLEL) | R0-p(R1,C1)-p(R2,C2) | 2.8747e-06 | -90.4113 | -1195.5988 | -1160.6724 | -184.5263 | -1194.917 | -1159.9906 | -1182.8823 | -181.983 | 2.732 | 2.0743 | 0.15116 | 0.15124 | 0.59397 | 5 | TRUE | PHYSICALLY PLAUSIBLE | 34.9264 | N/A
6 | 14. Rs + (Rct¦¦CPE) + (R¦¦CPE) (RANDLES + CPE PARALLEL) | R0-p(R1,CPE1)-p(R2,CPE2) | 2.3909e-06 | -92.025 | -1211.0819 | -1151.0819 | -174.9358 | -1209.7795 | -1149.7795 | -1193.2788 | -167.3059 | 2.3864 | 1.8111 | 0.13459 | 0.13468 | 0.63481 | 7 | TRUE | PLAUSIBLE WITH WARNINGS | 60 | CPE1=3.164e-08F, CPE2=1.575e-11F
7 | 15. Rs + (Rct¦¦Cdl) + (R¦¦C) + W (RANDLES + RC + WARBURG) | R0-p(R1,C1)-p(R2,C2)-W1 | 2.895e-06 | -90.3435 | -1194.011 | -1148.9538 | -172.8077 | -1193.0455 | -1147.9882 | -1178.7512 | -167.7211 | 2.7184 | 2.0458 | 0.14966 | 0.14975 | 0.60211 | 6 | TRUE | PHYSICALLY PLAUSIBLE | 45.0572 | N/A
8 | 6. Rs + (Rct¦¦Cdl) + (W¦¦Rdiff) (FINITE DIFFUSION + CDL) | R0-p(R1,C1)-p(W1,R2) | 4.9871e-06 | -83.3653 | -1143.8144 | -1102.525 | -126.3789 | -1143.1325 | -1101.8431 | -1131.0979 | -123.8356 | 3.4943 | 2.7166 | 0.20202 | 0.2022 | 0.18005 | 5 | TRUE | PHYSICALLY PLAUSIBLE | 41.2894 | N/A
9 | 3. Rs + (Rct¦¦Cdl) + W (CLASSIC RANDLES + WARBURG) | R0-p(R1,C1)-W1 | 3.6297e-05 | 21.0712 | -958.1725 | -948.1725 | 27.9736 | -957.7231 | -947.7231 | -947.9993 | 27.9736 | 8.9313 | 5.5784 | 0.43568 | 0.43626 | 0.12904 | 4 | TRUE | PHYSICALLY PLAUSIBLE | 10 | N/A
10 | 1. Rs + (Rct¦¦CPE) + W (RANDLES CPE + WARBURG) | R0-p(R1,CPE1)-W1 | 3.0321e-05 | 1.1364 | -974.1461 | -936.1462 | 39.9999 | -973.4643 | -935.4643 | -961.4296 | 42.5432 | 8.2146 | 5.6918 | 0.42743 | 0.42818 | 0.1313 | 5 | TRUE | PLAUSIBLE WITH WARNINGS | 37.9999 | CPE1=3.172e-08F
11 | 4. Rs + ((Rct+W)¦¦CPE) (ALTERNATIVE) | R0-p(R1-W1,CPE1) | 3.0321e-05 | 1.1364 | -974.1461 | -936.1462 | 39.9999 | -973.4643 | -935.4643 | -961.4296 | 42.5432 | 8.2146 | 5.6918 | 0.42743 | 0.42818 | 0.1313 | 5 | TRUE | PLAUSIBLE WITH WARNINGS | 37.9999 | CPE1=3.172e-08F
12 | 5. Rs + (Rct¦¦CPE) + (W¦¦Rdiff) (FINITE DIFFUSION) | R0-p(R1,CPE1)-p(W1,R2) | 3.0669e-05 | 2.2988 | -972.1461 | -928.5811 | 47.565 | -971.1806 | -927.6156 | -956.8863 | 52.6516 | 8.2146 | 5.6918 | 0.42743 | 0.42818 | 0.1313 | 6 | TRUE | PLAUSIBLE WITH WARNINGS | 43.565 | CPE1=3.172e-08F
13 | 12. Rs + (Rct¦¦CPE) + G (GERISCHER) | R0-p(R1,CPE1)-G1 | 3.0669e-05 | 2.2978 | -972.147 | -928.1898 | 47.9563 | -971.1815 | -927.2243 | -956.8873 | 53.0429 | 8.2124 | 5.6857 | 0.42712 | 0.42787 | 0.13137 | 6 | TRUE | PLAUSIBLE WITH WARNINGS | 43.9572 | CPE1=3.172e-08F
14 | 10. Rs + L + (Rct¦¦Cdl) (WITH INDUCTOR) | R0-L1-p(R1,C1) | 3.6365e-05 | 21.2966 | -957.9976 | -925.9976 | 50.1485 | -957.5482 | -925.5482 | -947.8244 | 50.1485 | 8.9431 | 5.5696 | 0.43537 | 0.43595 | 0.12682 | 4 | TRUE | PHYSICALLY PLAUSIBLE | 32 | N/A
15 | 11. Rs + (Rct¦¦Cdl) + L (INDUCTOR ALTERNATIVE) | R0-p(R1,C1)-L1 | 3.6365e-05 | 21.2966 | -957.9976 | -925.9976 | 50.1485 | -957.5482 | -925.5482 | -947.8244 | 50.1485 | 8.9431 | 5.5696 | 0.43537 | 0.43595 | 0.12682 | 4 | TRUE | PHYSICALLY PLAUSIBLE | 32 | N/A

## Notes
ElectroCore Analyzer — Fitting Notes
Export timestamp | 2026-09-22 01:47:08
Model | 8. Rs + (Rct¦¦CPE) (RANDLES CPE)
─── User Notes ───────────────────────
(no notes)